## Sheet1
DM TEST KIT
Board No. AES-018
|  |  |  | Date: | 2024-07-30
Register Address | Bit Details | Index Details | IO Details
40001 | Bit-15 | 0 | UPPER LIMIT REACHED-1
| Bit-14 | 1 | UPPER LIMIT REACHED-2
| Bit-13 | 2 | LOWER LIMIT REACHED-1
| Bit-12 | 3 | LOWER LIMIT REACHED-2
| Bit-11 | 4 | MPR TRIP-1
| Bit-10 | 5 | MPR TRIP-2
| Bit-9 | 6 | TAP CHANGE IN PROGRESS-1
| Bit-8 | 7 | TAP CHANGE IN PROGRESS-2
| Bit-7 | 8 | TAP CHANGE DELAY-1
| Bit-6 | 9 | TAP CHANGE DELAY-2
| Bit-5 | 10 | LOCAL / REMOTE-1
| Bit-4 | 11 | LOCAL / REMOTE-2
| Bit-3 | 12 | SPP
| Bit-2 | 13 | CONTROL SUPPLY HEALTHY
| Bit-1 | 14 | CONTROL SUPPLY UNHEALTHY
| Bit-0 | 15 | POWER SUPPLY 415V HEALTHY
40002 | Bit-15 | 0 | INTERLOCKING CIRCUIT
| Bit-14 | 1 | PROXIMITY SWITCH HEALTHY
| Bit-13 | 2 | TAP CHANGER HEALTHY MONITORING
| Bit-12 | 3 | HAND CRANK SWITCH
| Bit-11 | 4 | ODD TAP
| Bit-10 | 5 | EVEN TAP
| Bit-9 | 6 | ODD TAP INDICATION
| Bit-8 | 7 | POWER SUPPLY 415V UNHEALTHY
| Bit-7 | 8 | TDR SWITCH
| Bit-6 | 9 | EMERGENCY STOP
| Bit-5 | 10 | TPI SELECTION
| Bit-4 | 11 | SPARE
| Bit-3 | 12 | SPARE
| Bit-2 | 13 | SPARE
| Bit-1 | 14 | SPARE
| Bit-0 | 15 | EVEN TAP INDICATION
40003 | Bit-15 | Bit-15 | CS14
| Bit-14 | Bit-14 | CS13
| Bit-13 | Bit-13 | CS12
| Bit-12 | Bit-12 | CRLS
| Bit-11 | Bit-11 | CLLS
| Bit-10 | Bit-10 | OS14
| Bit-9 | Bit-9 | OS13
| Bit-8 | Bit-8 | OS12
| Bit-7 | Bit-7 | OMD
| Bit-6 | Bit-6
| Bit-5 | Bit-5
| Bit-4 | Bit-4
| Bit-3 | Bit-3
| Bit-2 | Bit-2
| Bit-1 | Bit-1
| Bit-0 | Bit-0
40004 | RESERVED
Register Address | Bit Details | Bit Details | IO Details | Min | Max
40005 | Integer | Integer | 0 to 100 % - Signal1
40006 | Integer | Integer | 4-20mA - Signal2
40007 | Integer | Integer | 4-20mA - Signal3
40008 | Integer | Integer | 4-20mA - Signal4

## Sheet2
DM TEST KIT
Board No. AES-018
|  |  |  | Date: | 2024-07-30
Register Address | Bit Details | Index Details | IO Details
40001 | Bit-15 | 0 | UPPER LIMIT REACHED-1
| Bit-14 | 1 | UPPER LIMIT REACHED-2
| Bit-13 | 2 | LOWER LIMIT REACHED-1
| Bit-12 | 3 | LOWER LIMIT REACHED-2
| Bit-11 | 4 | MPR TRIP-1
| Bit-10 | 5 | MPR TRIP-2
| Bit-9 | 6 | TAP CHANGE IN PROGRESS-1
| Bit-8 | 7 | TAP CHANGE IN PROGRESS-2
| Bit-7 | 8 | TAP CHANGE DELAY-1
| Bit-6 | 9 | TAP CHANGE DELAY-2
| Bit-5 | 10 | Local 1
| Bit-4 | 11 | Remote 1
| Bit-3 | 12 | SPP
| Bit-2 | 13 | Local 2
| Bit-1 | 14 | Remote 2
| Bit-0 | 15 | POWER SUPPLY 415V HEALTHY
40002 | Bit-15 | 0 | INTERLOCKING CIRCUIT
| Bit-14 | 1 | PROXIMITY SWITCH HEALTHY
| Bit-13 | 2 | TAP CHANGER HEALTHY MONITORING
| Bit-12 | 3 | HAND CRANK SWITCH | Green
| Bit-11 | 4 | ODD TAP
| Bit-10 | 5 | EVEN TAP
| Bit-9 | 6 | ODD TAP INDICATION
| Bit-8 | 7 | POWER SUPPLY 415V UNHEALTHY | Red
| Bit-7 | 8 | TDR SWITCH | RED
| Bit-6 | 9 | EMERGENCY STOP | RED
| Bit-5 | 10 | TPI SELECTION
| Bit-4 | 11 | SPARE
| Bit-3 | 12 | SPARE
| Bit-2 | 13 | SPARE
| Bit-1 | 14 | SPARE
| Bit-0 | 15 | EVEN TAP INDICATION
40003 | Bit-15 | Bit-15 | CS14
| Bit-14 | Bit-14 | CS13
| Bit-13 | Bit-13 | CS12
| Bit-12 | Bit-12 | CRLS
| Bit-11 | Bit-11 | CLLS
| Bit-10 | Bit-10 | OS14
| Bit-9 | Bit-9 | OS13
| Bit-8 | Bit-8 | OS12
| Bit-7 | Bit-7 | OMD
| Bit-6 | Bit-6
| Bit-5 | Bit-5
| Bit-4 | Bit-4
| Bit-3 | Bit-3
| Bit-2 | Bit-2
| Bit-1 | Bit-1
| Bit-0 | Bit-0
40004 | RESERVED
Register Address | Bit Details | Bit Details | IO Details | Min | Max
40005 | Integer | Integer | 0 to 100 % - Signal1
40006 | Integer | Integer | 4-20mA - Signal2
40007 | Integer | Integer | 4-20mA - Signal3
40008 | Integer | Integer | 4-20mA - Signal4

## Sheet3
Completed | Pending | UI Pending
Operations count | Reporting
Cycles count
4-20 mA Tap position
Tap position reset
Emergency Stop
Error message corrected
TPI selection pop up message
Cam Timing Range error
Prevent command execute if error still exists
Handcrank, Interlocking, proximity (Backend)
ADS
Cam Timing data UI display
Manual entry saving but not moving to next page
Cam Table to make side by side
Cam Table Heading font size increase, Decrease row hight and decrese observed value column width
ADS (Move under Download section)
Handcrank, Proximity, Interlocking - Flow
Code clean up - remove unnecessary code if any
Logout
Bundling
On Error, we need to reset from beginning.
Prevent navigating to Automation test page if form save is failed.